## All Utilities
SAG Fuel Conversion Working Group
Fuel Conversion Measure Spreadsheet for Presentation during Meeting #2 - April 26, 2021
2021-04-22
[5 empty] | Calendar Year 2019 |  |  | Calendar Year 2020 |  |  | Calendar Year 2021
Electric Utility | Electric Fuel Conversion TRM Measure | Program | Commercial or Residential Measure? | Brief Description of Electric Measure | Number of Measures Incentivized | Total Measure Verified Gross Electric Savings (kWh) | Total Measure Verified Gross Gas Savings (Therms) | Number of Measures Incentivized | Total Measure Verified Gross Electric Savings (kWh) | Total Measure Verified Gross Gas Savings (Therms) | Is this measure offered in 2021? | Comments
ComEd | 5.3.1 Air Source Heat Pump with gas furnace or boiler baseline | Single-Family Retrofits - IHWAP | Income Eligible | Installation of air source heat pump (TOS, ER) | 5 | 15492.8653 | 0 | 1 | 4441.4714 | 0 | Yes | There were no fuel switching savings for ASHP in CY2019 and CY2020. However this measure will have fuel switching savings in CY2021.
| 5.3.1 Air Source Heat Pump with gas furnace or boiler baseline | HVAC | Residential | Installation of air source heat pump (TOS, ER) | 205 | 284245.4017 | 0 | 106 | 189301 | 0 | Yes | There were no fuel switching savings for ASHP in CY2019 and CY2020. However this measure will have fuel switching savings in CY2021.
| 5.3.8 Ground Source Heat Pump with gas furnace or boiler baseline | HVAC | Residential | Installation of ground source heat pump (TOS, ER) | 36 | 237507.6584 | 1566.663 | 49 | 275895 | 5057 | Yes
| 5.3.12 Ductless Heat Pumps with gas furnace or boiler baseline | HVAC | Residential | Installation of ductless mini-split heat pump (TOS, ER) | 359 | 860606.9718 | 178840.8994 | 442 | 1014996 | 233853 | Yes
| 4.4.32 Combined Heat and Power with baseline of grid generated electricity and other gas heat | Incentives-Custom | Commercial | Installation of Combined Heat & Power system. Custom project. |  |  |  | 4 | 9635924.453 | 0 | Yes | This is custom measure and savings input are not based on TRM Measure 4.4.32
| 4.4.44 Commercial Ground Source and Ground Water Source Heat Pump with gas furnace or boiler baseline | Incentives-Standard | Commercial | Installation of ground source heat pump (TOS) | 60 | 75833.5526 | 0 | 144 | 39171.8558 | 0 | Yes | Note the baseline is a ground source heat pump
[5 empty] | Calendar Year 2019 |  | Calendar Year 2020 |  | Calendar Year 2021
Electric Utility | Sector | Electric Fuel Conversion TRM Measure | Baseline | Brief Description of Electric Measure | Number of Measures Incentivized | Total Measure Savings (kWh) | Number of Measures Incentivized | Total Measure Savings (kWh) | Is this measure offered in 2021?
Ameren Illinois | Residential | 5.3.1 Air Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Some are TOS so what they had existing was not applicable | 390 | 663227 | 477 | 814477 | Yes
|  | 5.3.8 Ground Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | No
|  |  | Electric heat |  | 0 | 0 | 0 | 0 | No
|  | 5.3.12 Ductless Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Some are TOS so what they had existing was not applicable | 64 | 382880 | 154 | 736087 | Yes
|  | 5.4.3 Heat Pump Water Heater | Gas water heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric water heat | Some are TOS so what they had existing was not applicable | 2 | 4215 | 35 | 86753 | Yes
| Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Other (e.g., waste heat to power; oil heat) |  | 0 | 0 | 0 | 0 | Yes
|  | 4.4.9 Air and Water Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Claimed as A/C only in 2019 & 2020 | 0 | 0 | 0 | 0 | Yes
|  | 4.4.13 Package Terminal Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Some are TOS so what they had existing was not applicable | 53 | 21603 | 5 | 6098 | Yes
|  | 4.4.44 Commercial Ground Source and Ground Water Source Heat Pump | Gas heat |  | 0 | 0 | 0 | 0 | Yes
|  |  | Electric heat | Building may have gas heat but conversion savings were not claimed | 2 | 378778 | 2 | 373515 | Yes
[5 empty] | Calendar Year 2019 |  | Calendar Year 2020 |  | Calendar Year 2021
Gas Utility | Sector | Gas Fuel Conversion TRM Measure | Baseline | Brief Description of Gas Measure | Number of Measures Incentivized | Total Measure Savings | Number of Measures Incentivized | Total Measure Savings | Is this measure offered in 2021?
Ameren Illinois | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0 | Yes
Nicor Gas | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0
|  |  | Gas-generated electricity (via CHP system) and gas heat | Thermal Heat Recovery from CHP system | 0 | 0 | 1 | 6,000 to 7,000 Therms | Yes
Peoples Gas | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0
|  |  | Gas-generated electricity (via CHP system) and gas heat | Solution for natural gas customers with CHP that are exempt from electric EE programs. Customers implementing electric EE measures reduce on-site electricity generation, thereby reducing gas consumption. The savings claimed by the gas program are the first year savings verified by evaluation | 0 | 0 | 0 | 0 | Yes. Prospect project eligible for up to 122,794 therms
North Shore Gas | Commercial | 4.4.32 Combined Heat and Power | Grid electricity and gas heat |  | 0 | 0 | 0 | 0
|  |  | Gas-generated electricity (via CHP system) and gas heat |  | 0 | 0 | 0 | 0 | Yes. No prospect projects
Note on B7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note that the there were no fuel switching savings for ASHP in CY2019 and CY2020. However this measure will have fuel switching savings in CY2021.
Note on B8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note that the there were no fuel switching savings for ASHP in CY2019 and CY2020. However this measure will have fuel switching savings in CY2021.
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is cusom measure and not based on TRM measure 4.4.44