## NSG 2019 Verified Summary
North Shore Gas 2019 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Actual Costs | Participation |  | Water Savings |  | Verified Gross Weighted Average Measure Life
| Annual Energy Savings | Energy Savings (Verified Gross / Ex Ante Gross) | Annual Energy Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Energy Savings | Lifetime Savings | First Year Cost per First Year Annual Savings | First Year Cost per Lifetime Savings | Utility Program Costs | # Units | Units Definition | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Years
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ |  |  | Gallons | Gallons
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=k/g) | (j=k/h) | (k) | (l) | (m) | (n) | (o) | (p=e/d)
Home Energy Jumpstart | 51679 | 97.5% | 50389 | 358827 | 90.97% | 45837 | 344363 | 3.044 | 0.40518 | 139530.02 | 1394 | Participants | 2475517.1127 | 24755171.1269 | 7.1211
Home Energy Rebate | 449519 | 100.2% | 450409 | 7526173.3317 | 76.84% | 346075 | 5498985.2751 | 2.893 | 0.18207 | 1001178.92 | 3523 | Participants | 0 | 0 | 16.7096
Multi-Family | 62845 | 97.37% | 61191 | 734292.5 | 92.27% | 56463 | 674661 | 4.5466 | 0.38051 | 256713.52 | 783 | Projects | 1580308.5871 | 15790736.8381 | 12
Home Energy Reports | 456028 | 152.9% | 697446 | 3487230 | 100% | 697446 | 3487230 | 0.38342 | 0.076684 | 267415.78 | 59203 | Participants | 0 | 0 | 5
Elementary Energy Education | 32732.1111 | 113% | 36986.6118 | 349804.7194 | 100% | 36986.6118 | 349804.7194 | 0.96958 | 0.10252 | 35861.39 | 2048 | Kits Distributed | 7806360.946 | 74533330.8994 | 9.4576
Residential Total | 1052803.1111 | 123.1% | 1296421.6118 | 12456327.5511 | 91.24% | 1182807.6118 | 10355043.9945 | 1.4378 | 0.16424 | 1700699.63 | NA |  | 11862186.6458 | 115079238.8643 | 9.6082
C&I and PS Prescriptive | 679285 | 100% | 679623 | 4300351 | 79% | 536902 | 3397279 | 0.96851 | 0.15306 | 519995.1249 | 14 | Projects | 2078620.8639 | 12471725.1831 | 6.3276
C&I and PS Custom | 64661 | 62.99% | 40731 | 541443 | 69% | 28104 | 373593 | 1.7613 | 0.13249 | 49498.2294 | 5 | Projects | 0 | 0 | 13.2931
Gas Optimization | 24286 | 100% | 24286 | 205057.5 | 91% | 22100 | 186600 | 0.84122 | 0.09963 | 18591.0209 | 2 | Projects | 0 | 0 | 8.4434
Strategic Energy Management | 165787 | 100% | 165787 | 828935 | 100% | 165787 | 828935 | 0.7655 | 0.1531 | 126910.5483 | 2 | Projects | 0 | 0 | 5
C&I and PS Joint Retro-Commissioning | 69150 | 86% | 59469 | 499539.6 | 94% | 55901 | 469568.4 | 0.94693 | 0.11273 | 52934.5752 | 5 | Projects | 0 | 0 | 8.4
C&I and PS Joint New Construction | 15183 | 99% | 15031 | 309638.6 | 70% | 10522 | 216753.2 | 1.1046 | 0.053622 | 11622.6414 | 2 | Projects | 0 | 0 | 20.6
Small Business | 196988 | 100.2% | 197360 | 1412502.5 | 92.05% | 181662 | 1300118.5 | 1.5995 | 0.2235 | 290573.96 | 98 | Projects | 1041232.6523 | 6586138.1132 | 7.157
C&I and Public Sector Total | 1215340 | 97.28% | 1182287 | 8097467.2 | 84.66% | 1000978 | 6772847.1 | 1.0691 | 0.158 | 1070126.1 | NA |  | 3119853.5161 | 19057863.2963 | 6.849
Income Eligible - IHWAP-SF | 4297.6847 | 110.2% | 4736.2874 | 86411.5245 | 100% | 4736.2874 | 86411.5245 | 12.9399 | 0.70925 | 61287.0652 | 13 | Participants | 10132.2649 | 101322.6488 | 18.2446
Income Eligible - IHWAP-MF | 24147 | 91.56% | 22108 | 428109 | 100% | 22108 | 428109 | 15.5757 | 0.80435 | 344347.9148 | 358 | Projects | 38066.1499 | 380661.4988 | 19.3644
Income Eligible - IEMS | 1885 | 100.3% | 1891 | 22135 | 100% | 1891 | 22135 | 9.396 | 0.8027 | 17767.7613 | 23 | Projects | 19345.2112 | 193452.1116 | 11.7054
Income Eligible - PHES | 3880.173 | 99.86% | 3874.8394 | 41053.1598 | 100% | 3874.8394 | 41053.1598 | 9.4388 | 0.89089 | 36573.9987 | 4 | Projects | 114048.1802 | 1140481.8023 | 10.5948
Income Eligible Total | 34209.8577 | 95.32% | 32610.1267 | 577708.6843 | 100% | 32610.1267 | 577708.6843 | 14.1053 | 0.79621 | 459976.74 | NA |  | 181591.8061 | 1815918.0614 | 17.7156
EEPS Program Total | 2302352.9688 | 109.1% | 2511318.7385 | 21131503.4354 | 88.26% | 2216395.7385 | 17705599.7788 | 1.4577 | 0.18247 | 3230802.47 |  |  | 15163631.968 | 135953020.222 | 8.4145
Other EEPS Portfolio Costs | [9 empty] | 720271.33
EEPS Portfolio Total | 2302352.9688 | 109.1% | 2511318.7385 | 21131503.4354 | 88.26% | 2216395.7385 | 17705599.7788 | 1.7827 | 0.22315 | 3951073.8 | NA |  | 15163631.968 | 135953020.222 | 8.4145

## NSG 2019 High Impact Measures
North Shore Gas 2019 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Gross | Cumulative Gross | Project | Each | Participants | Apt Units | Kits Distributed | MBH | CFM | Square Feet | Linear Feet | HP | lbs-capacity | kBtu/hr | Sq.Ft at CFM50 | Unit
Non-Residential | Steam Trap Replacement or Repair | 743631 | 4461786 | 6 | 1 | 29.61% | 29.61% | 1 | 903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Home Energy Reports | 697446 | 3487230 | 5 | 2 | 27.77% | 57.38% | 0 | 0 | 59203 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas High Efficiency Furnace | 249429.1317 | 4802436.821 | 19.2537 | 3 | 9.932% | 67.32% | 0 | 1199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Advanced Thermostats | 175116.24 | 1926278.64 | 11 | 4 | 6.973% | 74.29% | 0 | 2685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Custom | 323950 | 2664303.7 | 8.2244 | 5 | 12.9% | 87.19% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Process Boiler Tune-up | 53498 | 160494 | 3 | 6 | 2.13% | 89.32% | 0 | 0 | 0 | 0 | 0 | 63820 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Low Flow Showerheads | 39669.9816 | 396699.8156 | 10 | 7 | 1.58% | 90.9% | 0 | 1832 | 0 | 0 | 4096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Programmable Thermostats | 37199.618 | 182363.932 | 4.9023 | 8 | 1.481% | 92.38% | 0 | 707 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Air Sealing | 32836.3092 | 644321.185 | 19.6222 | 9 | 1.308% | 93.69% | 106 | 284 | 0 | 0 | 0 | 0 | 221166 | 0 | 3586 | 0 | 0 | 0 | 0 | 0
Residential | Duct Insulation and Sealing | 20862 | 417240 | 20 | 10 | 0.8307% | 94.52% | 0 | 0 | 0 | 0 | 0 | 0 | 29404 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Pipe Insulation | 19008 | 285120 | 15 | 11 | 0.7569% | 95.27% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6227 | 0 | 0 | 0 | 0 | 0
Residential | Low Flow Faucet Aerators | 15970.1597 | 159701.5975 | 10 | 12 | 0.6359% | 95.91% | 0 | 2132 | 0 | 0 | 12288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Efficiency Boiler | 13825 | 276500 | 20 | 13 | 0.5505% | 96.46% | 0 | 0 | 0 | 0 | 0 | 12277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas High Efficiency Boiler | 13542 | 315804.1446 | 23.3203 | 14 | 0.5392% | 97% | 0 | 14 | 0 | 0 | 0 | 5632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Kitchen Demand Ventilation Controls | 11610 | 174150 | 15 | 15 | 0.4623% | 97.46% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0
Non-Residential | Space Heating Boiler Tune-up | 9653 | 28959 | 3 | 16 | 0.3844% | 97.85% | 0 | 0 | 0 | 0 | 0 | 26855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Ceiling/Attic Insulation | 8895.1253 | 177902.5055 | 20 | 17 | 0.3542% | 98.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144630 | 0 | 0 | 0 | 0 | 0 | 0
Residential | DHW Tank Insulation | 7555 | 113325 | 15 | 18 | 0.3008% | 98.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1410 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Double Rack Oven | 5790 | 69480 | 12 | 19 | 0.2306% | 98.73% | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Linkageless Controls | 5180 | 82880 | 16 | 20 | 0.2063% | 98.94% | 0 | 0 | 0 | 0 | 0 | 8857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Demand Controlled Ventilation | 4810 | 48100 | 10 | 21 | 0.1915% | 99.13% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65888 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Gas Water Heater | 4265 | 63975 | 15 | 22 | 0.1698% | 99.3% | 2 | 0 | 0 | 0 | 0 | 598 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas Water Heater | 2934.6247 | 37333.2753 | 12.7217 | 23 | 0.1169% | 99.42% | 3 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Domestic Hot Water Pipe Insulation | 2776 | 41640 | 15 | 24 | 0.1105% | 99.53% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2983 | 0 | 0 | 0 | 0 | 0
Non-Residential | Pipe Insulation | 2599 | 38985 | 15 | 25 | 0.1035% | 99.63% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 457 | 0 | 0 | 0 | 0 | 0
Residential | Shower Timer | 2230.8177 | 4461.6354 | 2 | 26 | 0.08883% | 99.72% | 0 | 0 | 0 | 0 | 4096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Efficiency Pre-Rinse Spray Valve | 1970 | 9850 | 5 | 27 | 0.07844% | 99.8% | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Low Flow Faucet Aerators | 1053 | 10530 | 10 | 28 | 0.04193% | 99.84% | 0 | 122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Steam Trap Replacement or Repair | 991 | 5946 | 6 | 29 | 0.03946% | 99.88% | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Basement Sidewall Insulation | 987.8735 | 19757.4694 | 20 | 30 | 0.03934% | 99.92% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2717 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Space Heating Boiler Tune-up | 550 | 1650 | 3 | 31 | 0.0219% | 99.94% | 0 | 0 | 0 | 0 | 0 | 1464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Wall Insulation | 518 | 10360 | 20 | 32 | 0.02063% | 99.96% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3161 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Non-Res High Efficiency Furnace | 453 | 7474.5 | 16.5 | 33 | 0.01804% | 99.98% | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Water Heater Temperature Setback | 276.8571 | 553.7142 | 2 | 34 | 0.01102% | 99.99% | 0 | 0 | 0 | 0 | 4096 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Non-Res High Efficiency Furnace | 237 | 3910.5 | 16.5 | 35 | 0.009437% | 100% | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portfolio |  | 2511318.7385 | 21131503.4354 | 8.4145

## NSG 2019 TRC
Total Resource Cost Test (TRC) Results for North Shore Gas, 2019 Programs, Societal Discount Rate
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 128140.9612 | 238614.5242 | 57680.21 | 81849.81 | 81849.81 | 366755.4855 | 139530.02 | 227225.4655 | 2.6285
Home Energy Rebate | 2008315.3533 | 1074734.5937 | 562789.34 | 438389.58 | 1546238.6243 | 3083049.947 | 2109027.9643 | 974021.9826 | 1.4618
Multi-Family | 249145.7577 | 218261.4261 | 161046.24 | 95667.28 | 150326.7102 | 467407.1838 | 311372.9502 | 156034.2336 | 1.5011
Home Energy Reports | 1313830.5937 | 454469.9618 | 267415.78 | 0 | 0 | 1768300.5555 | 267415.78 | 1500884.7755 | 6.6126
Elementary Energy Education | 130036.451 | 625549.7486 | 0.91 | 35860.48 | 35860.48 | 755586.1996 | 35861.39 | 719724.8096 | 21.0696
Residential Subtotal | 3829469.1169 | 2611630.2545 | 1048932.48 | 651767.15 | 1814275.6245 | 6441099.3714 | 2863208.1045 | 3577891.2668 | 2.2496
C&I and PS Prescriptive | 1272542.6589 | 569061.044 | 196558.0379 | 323437.087 | 239623.5792 | 1841603.7029 | 436181.6171 | 1405422.0858 | 4.2221
C&I and PS Custom | 137374.7555 | 53441.8473 | 18710.3194 | 30787.9101 | 140520 | 190816.6028 | 159230.3194 | 31586.2835 | 1.1984
Gas Optimization | 73037.871 | 27467.5765 | 7027.4016 | 11563.6192 | 44200 | 100505.4475 | 51227.4016 | 49278.0458 | 1.9619
Strategic Energy Management | 312305.2289 | 108030.1723 | 47972.1581 | 78938.3901 | 82893.5 | 420335.4012 | 130865.6581 | 289469.743 | 3.212
C&I and PS Joint Retro-Commissioning | 187427.1511 | 70593.4917 | 20009.2573 | 32925.3179 | 55901 | 258020.6428 | 75910.2573 | 182110.3855 | 3.399
C&I and PS Joint New Construction | 79980.2403 | 31885.7778 | 4393.3558 | 7229.2856 | 56713.58 | 111866.0181 | 61106.9358 | 50759.0823 | 1.8307
Small Business | 484164.9718 | 315512.3557 | 184360.23 | 106213.73 | 225915.4961 | 799677.3275 | 410275.7261 | 389401.6014 | 1.9491
Total C&I and Public Sector | 2546832.8774 | 1175992.2653 | 479030.76 | 591095.34 | 845767.1553 | 3722825.1427 | 1324797.9153 | 2398027.2274 | 2.8101
Income Eligible - IHWAP-SF | 31432.902 | 13235.1836 | 7653.7453 | 53633.3199 | 107266.6398 | 44668.0856 | 114920.3851 | -70252.2995 | 0.38869
Income Eligible - IHWAP-MF | 155471.3669 | 64705.7715 | 43003.3847 | 301344.5301 | 602689.0602 | 220177.1385 | 645692.4449 | -425515.3064 | 0.34099
Income Eligible - IEMS | 8119.0951 | 4623.5039 | 7440.1513 | 10327.61 | 28306.57 | 12742.599 | 35746.7213 | -23004.1223 | 0.35647
Income Eligible - PHES | 15163.1955 | 14612.6411 | 15315.1587 | 21258.84 | 21258.84 | 29775.8365 | 36573.9987 | -6798.1622 | 0.81413
Income Eligible Total | 210186.5595 | 97177.1001 | 73412.44 | 386564.3 | 759521.11 | 307363.6596 | 832933.55 | -525569.8905 | 0.36901
EEPS Portfolio Costs |  |  | 720271.33 |  |  | 0 | 720271.33 | -720271.33
EEPS Portfolio | 6586488.5538 | 3884799.6199 | 2321647.01 | 1629426.79 | 3419563.8899 | 10471288.1736 | 5741210.8999 | 4730077.2738 | 1.8239
EEPS Portfolio w/o Income Eligible | 6376301.9943 | 3787622.5198 | 2248234.57 | 1242862.49 | 2660042.7799 | 10163924.5141 | 4908277.3499 | 5255647.1642 | 2.0708

## NSG 2019 PACT
Program Administrator Cost Test (PACT) Results for North Shore Gas, 2019 Programs, WACC Discount Rate
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Ratio
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 108402.2575 |  | 57680.21 | 81849.81 | 81849.81 | 108402.2575 | 139530.02 | -31127.7625 | 0.77691
Home Energy Rebate | 1513290.1345 |  | 562789.34 | 438389.58 | 1574314.175 | 1513290.1345 | 1001178.92 | 512111.2145 | 1.5115
Multi-Family | 201151.1011 |  | 161046.24 | 95667.28 | 150326.7102 | 201151.1011 | 256713.52 | -55562.4189 | 0.78356
Home Energy Reports | 1198827.9312 |  | 267415.78 | 0 | 0 | 1198827.9312 | 267415.78 | 931412.1512 | 4.483
Elementary Energy Education | 109464.1062 |  | 0.91 | 35860.48 | 35860.48 | 109464.1062 | 35861.39 | 73602.7162 | 3.0524
Residential Subtotal | 3131135.5304 | 0 | 1048932.48 | 651767.15 | 1842351.1751 | 3131135.5304 | 1700699.63 | 1430435.9004 | 1.8411
C&I and PS Prescriptive | 1123703.7014 |  | 196558.0379 | 323437.087 | 239623.5792 | 1123703.7014 | 519995.1249 | 603708.5765 | 2.161
C&I and PS Custom | 108145.2653 |  | 18710.3194 | 30787.9101 | 140520 | 108145.2653 | 49498.2294 | 58647.0359 | 2.1848
Gas Optimization | 61975.5127 |  | 7027.4016 | 11563.6192 | 44200 | 61975.5127 | 18591.0209 | 43384.4919 | 3.3336
Strategic Energy Management | 284968.4223 |  | 47972.1581 | 78938.3901 | 82893.5 | 284968.4223 | 126910.5483 | 158057.874 | 2.2454
C&I and PS Joint Retro-Commissioning | 159966.6439 |  | 20009.2573 | 32925.3179 | 55901 | 159966.6439 | 52934.5752 | 107032.0687 | 3.022
C&I and PS Joint New Construction | 56886.6929 |  | 4393.3558 | 7229.2856 | 56713.58 | 56886.6929 | 11622.6414 | 45264.0515 | 4.8945
Small Business | 412245.4816 |  | 184360.23 | 106213.73 | 225915.4961 | 412245.4816 | 290573.96 | 121671.5216 | 1.4187
Total C&I and Public Sector | 2207891.7201 | 0 | 479030.76 | 591095.34 | 845767.1553 | 2207891.7201 | 1070126.1 | 1137765.6201 | 2.0632
Income Eligible - IHWAP-SF | 23043.2921 |  | 7653.7453 | 53633.3199 | 107266.6398 | 23043.2921 | 61287.0652 | -38243.7731 | 0.37599
Income Eligible - IHWAP-MF | 112926.7881 |  | 43003.3847 | 301344.5301 | 602689.0602 | 112926.7881 | 344347.9148 | -231421.1267 | 0.32794
Income Eligible - IEMS | 6307.3492 |  | 7440.1513 | 10327.61 | 28306.57 | 6307.3492 | 17767.7613 | -11460.4121 | 0.35499
Income Eligible - PHES | 12304.1747 |  | 15315.1587 | 21258.84 | 21258.84 | 12304.1747 | 36573.9987 | -24269.824 | 0.33642
Income Eligible Total | 154581.6041 | 0 | 73412.44 | 386564.3 | 759521.11 | 154581.6041 | 459976.74 | -305395.1359 | 0.33606
EEPS Portfolio Costs |  |  | 720271.33 |  |  | 0 | 720271.33 | -720271.33
EEPS Portfolio | 5493608.8546 | 0 | 2321647.01 | 1629426.79 | 3447639.4405 | 5493608.8546 | 3951073.8 | 1542535.0546 | 1.3904
EEPS Portfolio w/o Income Eligible | 5339027.2505 | 0 | 2248234.57 | 1242862.49 | 2688118.3305 | 5339027.2505 | 3491097.06 | 1847930.1905 | 1.5293