## PGL 2020 Verified Summary
Peoples Gas 2020 Verified Savings Summary
| Ex Ante Gross | Realization Rate | Verified Gross |  | Deemed / Used | Verified Net |  |  |  | Actual Costs | Participation |  | GHG Savings |  | Water Savings |  | Verified Gross Weighted Average Measure Life
| Annual Energy Savings | Energy Savings (Verified Gross / Ex Ante Gross) | Annual Energy Savings | Lifetime Savings | Net-to-Gross Ratio | Annual Energy Savings | Lifetime Savings | First Year Cost per First Year Annual Savings | First Year Cost per Lifetime Savings | Utility Program Costs | # Units | Units Definition | Annual Verified Net CO2 Savings | Lifetime Verified Net CO2 Savings | Annual Verified Net Water Savings | Lifetime Verified Net Water Savings | Years
| Therms | % | Therms | Therms | % | Therms | Therms | $/Therms | $/Therms | $ |  |  | metric tons CO2 | metric tons CO2 | Gallons | Gallons
(a) | (b) | (c=d/b) | (d) | (e) | (f=g/d) | (g) | (h) | (i=k/g) | (j=k/h) | (k) | (l) | (m) |  |  | (n) | (o) | (p=e/d)
Home Energy Jumpstart | 119151 | 99.32% | 118340 | 1062653.864 | 88.85% | 105145 | 971330.336 | 5.2451 | 0.56777 | 551495.8688 | 2302 | Participants | 556.3222 | 5139.3088 | 3960898.0709 | 30487292.811 | 8.9797
Home Energy Rebate | 259736 | 100.6% | 261252 | 5023969.7409 | 67.88% | 177342 | 3398258.4947 | 5.3634 | 0.2799 | 951163.7682 | 1204 | Participants | 938.3165 | 17980.1857 | 0 | 0 | 19.2304
Multi-Family | 3530357 | 100.5% | 3549624 | 39390731.5 | 87.14% | 3093220 | 34315508 | 1.3917 | 0.12545 | 4304747.0046 | 2928 | Projects | 16366.227 | 181563.3528 | 6165552.8432 | 53983614.6401 | 11.0972
Home Energy Reports | 656325 | 157.2% | 1031533 | 5157665 | 100% | 1031533 | 5157665 | 0.61674 | 0.12335 | 636189.0326 | 91163 | Participants | 5457.8411 | 27289.2055 | 0 | 0 | 5
Elementary Energy Education | 99774.8634 | 109.7% | 109459.4689 | 994754.517 | 100% | 109459.4689 | 994754.517 | 0.97788 | 0.1076 | 107038.63 | 6113 | Kits Distributed | 579.15 | 5263.2461 | 20619484.9274 | 199457203.0055 | 9.0879
Residential Total | 4665343.8634 | 108.7% | 5070208.4689 | 51629774.622 | 89.08% | 4516699.4689 | 44837516.3477 | 1.4503 | 0.1461 | 6550634.3042 | NA |  | 23897.8569 | 237235.299 | 30745935.8415 | 283928110.4566 | 10.183
C&I and PS Prescriptive | 2271939 | 100% | 2271948 | 10183453.2 | 79% | 1794837 | 8044919.1 | 1.3558 | 0.30248 | 2433448.9129 | 197 | Projects | 9496.4826 | 42565.667 | 3726537.8048 | 22359226.8286 | 4.4823
C&I and PS Custom | 427964 | 98.55% | 421766 | 6576779 | 74% | 312107 | 4866818 | 1.4687 | 0.094186 | 458387.5406 | 23 | Projects | 1651.3581 | 25750.334 | 0 | 0 | 15.5934
Gas Optimization | 723674 | 100% | 724031 | 10125508.6 | 91% | 658870 | 9214237.2 | 1.1764 | 0.084122 | 775119.2741 | 23 | Projects | 3486.0812 | 48752.529 | 0 | 0 | 13.9849
Strategic Energy Management | 626230 | 88.86% | 556497 | 3895479 | 100% | 556497 | 3895479 | 1.2053 | 0.17219 | 670748.0758 | 7 | Projects | 2944.4256 | 20610.9794 | 0 | 0 | 7
C&I and PS Joint Retro-Commissioning | 417335 | 100.2% | 417990 | 3552915 | 94% | 392911 | 3339743.5 | 1.1377 | 0.13384 | 447002.9354 | 18 | Projects | 2078.8921 | 17670.5829 | 0 | 0 | 8.5
C&I and PS Joint New Construction | 492851 | 88.91% | 438201 | 9026940.6 | 58% | 254156 | 5235613.6 | 2.077 | 0.10083 | 527887.2937 | 20 | Projects | 1344.7394 | 27701.6316 | 0 | 0 | 20.6
Commercial Food Service | 24850 | 113.6% | 28233 | 340824 | 80% | 22586 | 272655 | 1.1785 | 0.09762 | 26616.5621 | 30 | Projects | 119.5025 | 1442.6176 | 32738.503 | 491077.5444 | 12.0718
Small Business | 1750240 | 99.8% | 1746774 | 13346471.5 | 92.02% | 1607461 | 12280904.5 | 1.396 | 0.18273 | 2244056.2585 | 474 | Projects | 8505.0762 | 64978.2657 | 7050498.7861 | 38651428.8952 | 7.6406
C&I and Public Sector Total | 6735083 | 98.08% | 6605440 | 57048370.9 | 84.77% | 5599425 | 47150369.9 | 1.3543 | 0.16083 | 7583266.8531 | NA |  | 29626.5577 | 249472.6071 | 10809775.0938 | 61501733.2682 | 8.6366
Income Eligible - CBA | 235441.305 | 100.6% | 236857.3476 | 4633617.4016 | 100% | 236857.3476 | 4633617.4016 | 9.9095 | 0.50655 | 2347142.9069 | 693 | Participants | 1253.2122 | 24516.4697 | 767858.6407 | 7678586.4071 | 19.5629
Income Eligible - IHWAP-SF | 63148.264 | 100% | 63149.399 | 1094063.2336 | 100% | 63149.399 | 1094063.2336 | 18.9911 | 1.0962 | 1199274.9223 | 117 | Participants | 334.1235 | 5788.6886 | 134874.0248 | 1348740.2479 | 17.325
Income Eligible - IHWAP-MF | 7854 | 96.04% | 7543 | 141915.5 | 100% | 7543 | 141915.5 | 19.7744 | 1.051 | 149158.5777 | 1 | Projects | 39.91 | 750.8749 | 0 | 0 | 18.8142
Income Eligible - MF LIHEAP Kits | 716565 | 107.6% | 771272 | 7927585 | 100% | 771272 | 7927585 | 1.9204 | 0.18684 | 1481165.1835 | 19999 | Kits Distributed | 4080.8002 | 41944.8522 | 30032160.4458 | 293050786.6604 | 10.2786
Income Eligible - IEMS | 88661 | 100.7% | 89294 | 1744187 | 100% | 89294 | 1744187 | 13.795 | 0.70624 | 1231809.6303 | 192 | Projects | 472.4546 | 9228.4934 | 2527931.4952 | 22124085.6983 | 19.5331
Income Eligible - PTA | 2682756 | 100.3% | 2691118 | 30759641 | 100% | 2691118 | 30759641 | 1.2743 | 0.11148 | 3429163.6804 | 1008 | Projects | 14238.7053 | 162749.2605 | 976485.1604 | 5858910.9621 | 11.4301
Income Eligible - PHES | 3842.58 | 102% | 3921 | 78420 | 100% | 3921 | 78420 | 13.6156 | 0.68078 | 53386.7997 | 1 | Projects | 20.746 | 414.9202 | 0 | 0 | 20
Income Eligible - AHNC | 75139 | 100.3% | 75345 | 1228123.5 | 100% | 75345 | 1228123.5 | 4.6236 | 0.28366 | 348363.5193 | 7 | Projects | 398.6504 | 6498.0014 | 0 | 0 | 16.3
Income Eligible Total | 3873407.149 | 101.7% | 3938499.7467 | 47607552.6352 | 100% | 3938499.7467 | 47607552.6352 | 2.5998 | 0.21508 | 10239465.2201 | NA |  | 20838.6022 | 251891.561 | 34439309.7668 | 330061109.9758 | 12.0877
EEPS Program Total | 15273834.0123 | 102.2% | 15614148.2155 | 156285698.1571 | 90.01% | 14054624.2155 | 139595438.8829 | 1.7342 | 0.1746 | 24373366.3774 |  |  | 74363.0167 | 738599.4671 | 75995020.7021 | 675490953.7007 | 10.0092
Other EEPS Portfolio Costs | [9 empty] | 4864281.5268
EEPS Portfolio Total | 15273834.0123 | 102.2% | 15614148.2155 | 156285698.1571 | 90.01% | 14054624.2155 | 139595438.8829 | 2.0803 | 0.20945 | 29237647.9042 | NA |  | 74363.0167 | 738599.4671 | 75995020.7021 | 675490953.7007 | 10.0092

## PGL 2020 High Impact Measures
Peoples Gas 2020 High Impact Measure Summary
Sector | Measure Name (Standardized) | Verified Gross Therms | Verified Gross Lifetime Savings | Measure Life (Years) | Rank | Share of Portfolio Gross | Cumulative Gross | Project | Each | Participants | Apt Units | Kits Distributed | MBH | CFM | Square Feet | Linear Feet | HP | lbs-capacity
Non-Residential | Custom | 2283679 | 29051668.2 | 12.7214 | 1 | 14.63% | 14.63% | 82 | 6 | 0 | 0 | 0 | 13292 | 0 | 0 | 0 | 0 | 0
Residential | Steam Trap Replacement or Repair | 2128903 | 12773418 | 6 | 2 | 13.63% | 28.26% | 0 | 5364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Steam Trap Replacement or Repair | 1900699 | 11404194 | 6 | 3 | 12.17% | 40.43% | 80 | 3084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | DHW Controls | 1818990 | 27284850 | 15 | 4 | 11.65% | 52.08% | 0 | 14850 | 0 | 14206 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Pipe Insulation | 1256266 | 18843990 | 15 | 5 | 8.046% | 60.13% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 385876 | 0 | 0
Non-Residential | Space Heating Boiler Tune-up | 1222543 | 3667629 | 3 | 6 | 7.83% | 67.96% | 0 | 0 | 0 | 0 | 0 | 2581677 | 0 | 0 | 0 | 0 | 0
Residential | Home Energy Reports | 1031533 | 5157665 | 5 | 7 | 6.606% | 74.56% | 0 | 0 | 91163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Air Sealing | 642861.5302 | 8481335.6045 | 13.1931 | 8 | 4.117% | 78.68% | 118 | 400008 | 0 | 0 | 1751 | 0 | 1367878 | 1807910 | 348011 | 0 | 0
Residential | Space Heating Boiler Tune-up | 528750 | 1586250 | 3 | 9 | 3.386% | 82.07% | 0 | 0 | 0 | 0 | 0 | 1124458 | 0 | 0 | 0 | 0 | 0
Non-Residential | Process Boiler Tune-up | 388151 | 1164453 | 3 | 10 | 2.486% | 84.55% | 0 | 0 | 0 | 0 | 0 | 379521 | 0 | 0 | 0 | 0 | 0
Non-Residential | Pipe Insulation | 364153 | 5462295 | 15 | 11 | 2.332% | 86.89% | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6370 | 0 | 0
Non-Residential | Kitchen Demand Ventilation Controls | 270513 | 4057695 | 15 | 12 | 1.732% | 88.62% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 350 | 0
Residential | Gas High Efficiency Furnace | 214097.9212 | 4039713.975 | 18.8685 | 13 | 1.371% | 89.99% | 0 | 1070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Pipe Steam Averaging Controls | 210997 | 4219940 | 20 | 14 | 1.351% | 91.34% | 0 | 3454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Low Flow Showerheads | 205207.0461 | 2052070.4606 | 10 | 15 | 1.314% | 92.66% | 0 | 23659 | 0 | 0 | 12226 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Steam Averaging Controls | 145144 | 2902880 | 20 | 16 | 0.9296% | 93.58% | 395 | 0 | 0 | 2123 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Ceiling/Attic Insulation | 113099.7493 | 2261994.9851 | 20 | 17 | 0.7243% | 94.31% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 904375 | 0 | 0 | 0
Residential | High Efficiency Boiler | 107289 | 2283606.5 | 21.2846 | 18 | 0.6871% | 95% | 0 | 758 | 0 | 76 | 0 | 149095 | 0 | 0 | 0 | 0 | 0
Residential | Custom | 93486 | 1519212 | 16.2507 | 19 | 0.5987% | 95.6% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0
Residential | Low Flow Faucet Aerators | 83994.546 | 839945.4601 | 10 | 20 | 0.5379% | 96.13% | 0 | 44187 | 0 | 0 | 36678 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Wall Insulation | 78793.5562 | 1575871.1239 | 20 | 21 | 0.5046% | 96.64% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 663717 | 0 | 0 | 0
Residential | Shower Timer | 77098.4435 | 154196.8869 | 2 | 22 | 0.4938% | 97.13% | 0 | 21838 | 0 | 0 | 13977 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Programmable Thermostats | 72501.3781 | 328561.0246 | 4.5318 | 23 | 0.4643% | 97.6% | 0 | 1316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Boiler Lockout/Reset Controls | 62295 | 1245900 | 20 | 24 | 0.399% | 97.99% | 0 | 0 | 0 | 0 | 0 | 46881 | 0 | 0 | 0 | 0 | 0
Residential | Advanced Thermostats | 40911.2977 | 450024.2744 | 11 | 25 | 0.262% | 98.26% | 0 | 676 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | ENERGY STAR Fryer | 33073 | 419730 | 12.691 | 26 | 0.2118% | 98.47% | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Speed Washer | 26474 | 185318 | 7 | 27 | 0.1696% | 98.64% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5695
Non-Residential | Linkageless Controls | 24987 | 399792 | 16 | 28 | 0.16% | 98.8% | 0 | 0 | 0 | 0 | 0 | 44400 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Efficiency Boiler | 20068 | 501700 | 25 | 29 | 0.1285% | 98.93% | 0 | 0 | 0 | 0 | 0 | 31496 | 0 | 0 | 0 | 0 | 0
Residential | Linkageless Controls | 18077 | 289232 | 16 | 30 | 0.1158% | 99.04% | 0 | 0 | 0 | 0 | 0 | 28640 | 0 | 0 | 0 | 0 | 0
Residential | DHW Tank Insulation | 18055 | 270825 | 15 | 31 | 0.1156% | 99.16% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3378 | 0 | 0 | 0
Residential | Water Heater Temperature Setback | 17405.9678 | 34811.9356 | 2 | 32 | 0.1115% | 99.27% | 0 | 19999 | 0 | 0 | 12226 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Gas Water Heater | 15336 | 230040 | 15 | 33 | 0.09822% | 99.37% | 0 | 0 | 0 | 0 | 0 | 5188 | 0 | 0 | 0 | 0 | 0
Non-Residential | High Efficiency Pre-Rinse Spray Valve | 14222 | 71110 | 5 | 34 | 0.09108% | 99.46% | 0 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas Water Heater | 11499.1729 | 150578.1383 | 13.0947 | 35 | 0.07365% | 99.53% | 0 | 123 | 0 | 0 | 0 | 1127 | 0 | 0 | 0 | 0 | 0
Non-Residential | Advanced Thermostats | 11084 | 121924 | 11 | 36 | 0.07099% | 99.6% | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Gas High Efficiency Boiler | 9958.8293 | 226425.8583 | 22.7362 | 37 | 0.06378% | 99.67% | 0 | 11 | 0 | 0 | 0 | 4910 | 0 | 0 | 0 | 0 | 0
Non-Residential | Prescriptive Change Other | 9214 | 106717.2 | 11.5821 | 38 | 0.05901% | 99.73% | 712 | 8455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Furnace Filter Alarm | 8181.7854 | 24545.3561 | 3 | 39 | 0.0524% | 99.78% | 0 | 0 | 0 | 0 | 12226 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Demand Controlled Ventilation | 7117 | 71170 | 10 | 40 | 0.04558% | 99.82% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104663 | 0 | 0 | 0
Non-Residential | Programmable Thermostats | 6691 | 26764 | 4 | 41 | 0.04285% | 99.87% | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Duct Insulation and Sealing | 5140.3881 | 102807.7612 | 20 | 42 | 0.03292% | 99.9% | 0 | 13 | 0 | 0 | 0 | 0 | 996 | 0 | 0 | 0 | 0
Non-Residential | Direct Fired Heaters | 3398 | 50970 | 15 | 43 | 0.02176% | 99.92% | 0 | 0 | 0 | 0 | 0 | 1350 | 0 | 0 | 0 | 0 | 0
Residential | Domestic Hot Water Pipe Insulation | 2343.9332 | 35158.9981 | 15 | 44 | 0.01501% | 99.94% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3840 | 0 | 0
Non-Residential | ENERGY STAR Convection Oven | 2102 | 25224 | 12 | 45 | 0.01346% | 99.95% | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Floor Insulation | 1897.7008 | 37954.0156 | 20 | 46 | 0.01215% | 99.96% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14982 | 0 | 0 | 0
Residential | Draft Controls | 1241 | 19856 | 16 | 47 | 0.007948% | 99.97% | 0 | 0 | 0 | 0 | 0 | 7470 | 0 | 0 | 0 | 0 | 0
Residential | Basement Sidewall Insulation | 1158.9699 | 23179.3989 | 20 | 48 | 0.007423% | 99.98% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5365 | 0 | 0 | 0
Non-Residential | ENERGY STAR Dishwasher | 970 | 16020 | 16.5155 | 49 | 0.006212% | 99.98% | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Condensate Tank Insulation | 778 | 11670 | 15 | 50 | 0.004983% | 99.99% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 0
Residential | Non-Res High Efficiency Furnace | 489 | 8068.5 | 16.5 | 51 | 0.003132% | 99.99% | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | DHW Tank Insulation | 418 | 6270 | 15 | 52 | 0.002677% | 99.99% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 0
Non-Residential | Infrared Heater | 301 | 3612 | 12 | 53 | 0.001928% | 100% | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0
Residential | Prescriptive Change Other | 263 | 789 | 3 | 54 | 0.001684% | 100% | 263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Residential | Non-Res High Efficiency Furnace | 247 | 4075.5 | 16.5 | 55 | 0.001582% | 100% | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portfolio |  | 15614148.2155 | 156285698.1571 | 10.0092

## PGL 2020 TRC Plan 3
Total Resource Cost Test (TRC) Results for Peoples Gas, 2020 Programs, Societal Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 364825.5435 | 394624.5068 | 386125.6488 | 165370.22 | 165370.22 | 759450.0503 | 551495.8688 | 207954.1815 | 1.3771
Home Energy Rebate | 1258284.7743 | 754712.4822 | 643983.6682 | 307180.1 | 1289774.5081 | 2012997.2565 | 1933758.1763 | 79239.0802 | 1.041
Multi-Family | 12883274.4225 | 5788121.3062 | 1261608.2346 | 3043138.77 | 5071964.39 | 18671395.7287 | 6333572.6246 | 12337823.1041 | 2.948
Home Energy Reports | 1980289.6173 | 823906.2783 | 636189.0326 | 0 | 0 | 2804195.8956 | 636189.0326 | 2168006.863 | 4.4078
Elementary Energy Education | 377016.9319 | 1737686.5232 | 0 | 107038.63 | 123893.1079 | 2114703.4551 | 123893.1079 | 1990810.3472 | 17.0688
Residential Total | 16863691.2895 | 9499051.0966 | 2927906.5842 | 3622727.72 | 6651002.226 | 26362742.3862 | 9578908.8102 | 16783833.5759 | 2.7522
C&I and PS Prescriptive | 3088054.0478 | 1705003.4256 | 1046424.4979 | 1387024.4149 | 2059029.5138 | 4793057.4734 | 3105454.0117 | 1687603.4617 | 1.5434
C&I and PS Custom | 1815897.3058 | 755510.294 | 197114.4533 | 261273.0873 | 1583467.6123 | 2571407.5998 | 1780582.0656 | 790825.5343 | 1.4441
Gas Optimization | 3454509.3794 | 1437260.4599 | 333314.4957 | 441804.7784 | 1317090.2576 | 4891769.8392 | 1650404.7533 | 3241365.0859 | 2.964
Strategic Energy Management | 1486827.1818 | 618599.5418 | 288433.102 | 382314.9738 | 313115 | 2105426.7236 | 601548.102 | 1503878.6216 | 3.5
C&I and PS Joint Retro-Commissioning | 1342529.7433 | 558564.0982 | 192218.879 | 254784.0563 | 392295.2994 | 1901093.8416 | 584514.1784 | 1316579.6631 | 3.2524
C&I and PS Joint New Construction | 1968799.8859 | 819125.9362 | 227000.5314 | 300886.7623 | 1540747.2801 | 2787925.822 | 1767747.8115 | 1020178.0105 | 1.5771
Commercial Food Service | 102718.4696 | 46564.0805 | 11445.5752 | 15170.9869 | 44136.2299 | 149282.55 | 55581.8051 | 93700.7449 | 2.6858
Small Business | 4650084.0838 | 4249353.4564 | 1043869.2985 | 1200186.96 | 2100873.6567 | 8899437.5402 | 3144742.9552 | 5754694.585 | 2.8299
C&I and Public Sector Total | 17909420.0974 | 10189981.2925 | 3339820.8331 | 4243446.02 | 9350754.8497 | 28099401.3898 | 12690575.6828 | 15408825.707 | 2.2142
Income Eligible - CBA | 1714150.9987 | 773997.4975 | 18385.3758 | 2328757.5311 | 2328757.5311 | 2488148.4961 | 2347142.9069 | 141005.5892 | 1.0601
Income Eligible - IHWAP-SF | 405719.2554 | 179483.734 | 506434.7072 | 692840.215 | 1385680.4301 | 585202.9894 | 1892115.1373 | -1306912.1479 | 0.30929
Income Eligible - IHWAP-MF | 53671.0666 | 22330.0311 | 62987.2928 | 86171.285 | 172342.5699 | 76001.0976 | 235329.8627 | -159328.7651 | 0.32296
Income Eligible - MF LIHEAP Kits | 2955946.2872 | 3552056.8382 | 55955.8435 | 1425209.34 | 1425209.34 | 6508003.1254 | 1481165.1835 | 5026837.9419 | 4.3938
Income Eligible - IEMS | 643784.7586 | 443555.4334 | 699340.1032 | 532469.5271 | 1185391.4 | 1087340.192 | 1884731.5032 | -797391.3112 | 0.57692
Income Eligible - PTA | 11546970.1654 | 4851424.1638 | 209493.7304 | 3219669.95 | 4675000.28 | 16398394.3292 | 4884494.0104 | 11513900.3188 | 3.3572
Income Eligible - PHES | 28994.5728 | 12063.2913 | 30309.4968 | 23077.3029 | 62129.4 | 41057.8641 | 92438.8968 | -51381.0327 | 0.44416
Income Eligible - AHNC | 476912.8386 | 198421.22 | 5867.5293 | 342495.99 | 342495.99 | 675334.0586 | 348363.5193 | 326970.5393 | 1.9386
Income Eligible Total | 17826149.9432 | 10033332.2093 | 1588774.079 | 8650691.1411 | 11577006.9411 | 27859482.1525 | 13165781.0201 | 14693701.1324 | 2.1161
EEPS Portfolio Costs |  |  | 4864281.5268 |  |  | 0 | 4864281.5268 | -4864281.5268
EEPS Portfolio | 52599261.3301 | 29722364.5984 | 12720783.0231 | 16516864.8811 | 27578764.0168 | 82321625.9284 | 40299547.0399 | 42022078.8885 | 2.0427
EEPS Portfolio without Income Eligible | 34773111.3869 | 19689032.3891 | 11132008.9441 | 7866173.74 | 16001757.0757 | 54462143.776 | 27133766.0198 | 27328377.7562 | 2.0072

## PGL 2020 TRC Plan 4
Total Resource Cost Test (TRC) Results for Peoples Gas, 2020 Programs, Societal Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | IL Total Resource Cost (TRC) Test
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net)* | IL TRC Benefits | IL TRC Costs | IL TRC Test Net Benefits | IL TRC Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b+c) | (d+f) | (g-h) | (g/h)
Home Energy Jumpstart | 283496.5207 | 689255.7778 | 386125.6488 | 165370.22 | 165370.22 | 972752.2986 | 551495.8688 | 421256.4298 | 1.7638
Home Energy Rebate | 989340.8925 | 1768870.2924 | 643983.6682 | 307180.1 | 1289774.5081 | 2758211.1849 | 1933758.1763 | 824453.0085 | 1.4263
Multi-Family | 10018345.8968 | 16207988.125 | 1261608.2346 | 3043138.77 | 5071964.39 | 26226334.0218 | 6333572.6246 | 19892761.3972 | 4.1408
Home Energy Reports | 1438859.4593 | 2350428.8234 | 636189.0326 | 0 | 0 | 3789288.2828 | 636189.0326 | 3153099.2502 | 5.9562
Elementary Energy Education | 293456.2545 | 2036921.408 | 0 | 107038.63 | 123893.1079 | 2330377.6625 | 123893.1079 | 2206484.5546 | 18.8096
Residential Total | 13023499.0238 | 23053464.4267 | 2927906.5842 | 3622727.72 | 6651002.226 | 36076963.4505 | 9578908.8102 | 26498054.6403 | 3.7663
C&I and PS Prescriptive | 2263680.0172 | 4136112.9091 | 1046424.4979 | 1387024.4149 | 2059029.5138 | 6399792.9263 | 3105454.0117 | 3294338.9146 | 2.0608
C&I and PS Custom | 1432367.2844 | 2241571.1492 | 197114.4533 | 261273.0873 | 1583467.6123 | 3673938.4336 | 1780582.0656 | 1893356.368 | 2.0633
Gas Optimization | 2698093.505 | 4250902.6228 | 333314.4957 | 441804.7784 | 1317090.2576 | 6948996.1278 | 1650404.7533 | 5298591.3745 | 4.2105
Strategic Energy Management | 1113231.5967 | 1777119.8841 | 288433.102 | 382314.9738 | 313115 | 2890351.4808 | 601548.102 | 2288803.3788 | 4.8049
C&I and PS Joint Retro-Commissioning | 1037282.9574 | 1618282.0661 | 192218.879 | 254784.0563 | 392295.2994 | 2655565.0235 | 584514.1784 | 2071050.8451 | 4.5432
C&I and PS Joint New Construction | 1547259.867 | 2458145.2973 | 227000.5314 | 300886.7623 | 1540747.2801 | 4005405.1643 | 1767747.8115 | 2237657.3528 | 2.2658
Commercial Food Service | 80882.3017 | 129228.8448 | 11445.5752 | 15170.9869 | 44136.2299 | 210111.1465 | 55581.8051 | 154529.3413 | 3.7802
Small Business | 3534019.8648 | 8305444.5715 | 1043869.2985 | 1200186.96 | 2100873.6567 | 11839464.4362 | 3144742.9552 | 8694721.4811 | 3.7648
C&I and Public Sector Total | 13706817.3942 | 24916807.3448 | 3339820.8331 | 4243446.02 | 9350754.8497 | 38623624.739 | 12690575.6828 | 25933049.0563 | 3.0435
Income Eligible - CBA | 1349516.5013 | 2195893.1858 | 18385.3758 | 2328757.5311 | 2328757.5311 | 3545409.687 | 2347142.9069 | 1198266.7801 | 1.5105
Income Eligible - IHWAP-SF | 318394.7478 | 514500.85 | 506434.7072 | 692840.215 | 1385680.4301 | 832895.5978 | 1892115.1373 | -1059219.5395 | 0.44019
Income Eligible - IHWAP-MF | 42312.5338 | 66794.0237 | 62987.2928 | 86171.285 | 172342.5699 | 109106.5575 | 235329.8627 | -126223.3051 | 0.46363
Income Eligible - MF LIHEAP Kits | 2309921.1155 | 5973631.0743 | 55955.8435 | 1425209.34 | 1425209.34 | 8283552.1898 | 1481165.1835 | 6802387.0063 | 5.5926
Income Eligible - IEMS | 504529.036 | 975025.123 | 699340.1032 | 532469.5271 | 1185391.4 | 1479554.159 | 1884731.5032 | -405177.3442 | 0.78502
Income Eligible - PTA | 8997895.771 | 14196235.9327 | 209493.7304 | 3219669.95 | 4675000.28 | 23194131.7037 | 4884494.0104 | 18309637.6933 | 4.7485
Income Eligible - PHES | 22831.1621 | 36138.0928 | 30309.4968 | 23077.3029 | 62129.4 | 58969.2549 | 92438.8968 | -33469.6419 | 0.63793
Income Eligible - AHNC | 376840.1913 | 590673.5472 | 5867.5293 | 342495.99 | 342495.99 | 967513.7385 | 348363.5193 | 619150.2192 | 2.7773
Income Eligible Total | 13922241.0589 | 24548891.8294 | 1588774.079 | 8650691.1411 | 11577006.9411 | 38471132.8883 | 13165781.0201 | 25305351.8682 | 2.9221
EEPS Portfolio Costs |  |  | 4864281.5268 |  |  | 0 | 4864281.5268 | -4864281.5268
EEPS Portfolio | 40652557.4769 | 72519163.6009 | 12720783.0231 | 16516864.8811 | 27578764.0168 | 113171721.0779 | 40299547.0399 | 72872174.038 | 2.8083
EEPS Portfolio without Income Eligible | 26730316.4181 | 47970271.7715 | 11132008.9441 | 7866173.74 | 16001757.0757 | 74700588.1895 | 27133766.0198 | 47566822.1697 | 2.753

## PGL 2020 PACT Plan 3
Program Administrator Cost Test (PACT) Results for Peoples Gas, 2020 Programs, WACC Discount Rate, Plan 3 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 292135.8526 |  | 386125.6488 | 165370.22 | 165370.22 | 292135.8526 | 551495.8688 | -259360.0162 | 0.52972
Home Energy Rebate | 914146.8823 |  | 643983.6682 | 307180.1 | 1313009.8818 | 914146.8823 | 951163.7682 | -37016.8859 | 0.96108
Multi-Family | 10283898.0917 |  | 1261608.2346 | 3043138.77 | 5071964.39 | 10283898.0917 | 4304747.0046 | 5979151.0871 | 2.389
Home Energy Reports | 1808320.2852 |  | 636189.0326 | 0 | 0 | 1808320.2852 | 636189.0326 | 1172131.2526 | 2.8424
Elementary Energy Education | 318647.5516 |  | 0 | 107038.63 | 123893.1079 | 318647.5516 | 107038.63 | 211608.9216 | 2.9769
Residential Subtotal | 13617148.6634 | 0 | 2927906.5842 | 3622727.72 | 6674237.5997 | 13617148.6634 | 6550634.3042 | 7066514.3592 | 2.0788
C&I and PS Prescriptive | 2808293.4736 |  | 1046424.4979 | 1387024.4149 | 2059029.5138 | 2808293.4736 | 2433448.9129 | 374844.5608 | 1.154
C&I and PS Custom | 1392797.639 |  | 197114.4533 | 261273.0873 | 1583467.6123 | 1392797.639 | 458387.5406 | 934410.0984 | 3.0385
Gas Optimization | 2647199.5256 |  | 333314.4957 | 441804.7784 | 1317090.2576 | 2647199.5256 | 775119.2741 | 1872080.2515 | 3.4152
Strategic Energy Management | 1312593.1949 |  | 288433.102 | 382314.9738 | 313115 | 1312593.1949 | 670748.0758 | 641845.1191 | 1.9569
C&I and PS Joint Retro-Commissioning | 1147320.9195 |  | 192218.879 | 254784.0563 | 392295.2994 | 1147320.9195 | 447002.9354 | 700317.9841 | 2.5667
C&I and PS Joint New Construction | 1404107.3449 |  | 227000.5314 | 300886.7623 | 1540747.2801 | 1404107.3449 | 527887.2937 | 876220.0512 | 2.6599
Commercial Food Service | 83625.7143 |  | 11445.5752 | 15170.9869 | 44136.2299 | 83625.7143 | 26616.5621 | 57009.1522 | 3.1419
Small Business | 3915158.4751 |  | 1043869.2985 | 1200186.96 | 2100873.6567 | 3915158.4751 | 2244056.2585 | 1671102.2166 | 1.7447
Total C&I and Public Sector | 14711096.2869 | 0 | 3339820.8331 | 4243446.02 | 9350754.8497 | 14711096.2869 | 7583266.8531 | 7127829.4338 | 1.9399
Income Eligible - CBA | 1244831.4457 |  | 18385.3758 | 2328757.5311 | 2328757.5311 | 1244831.4457 | 2347142.9069 | -1102311.4612 | 0.53036
Income Eligible - IHWAP-SF | 299212.0234 |  | 506434.7072 | 692840.215 | 1385680.4301 | 299212.0234 | 1199274.9223 | -900062.8988 | 0.24949
Income Eligible - IHWAP-MF | 39272.5751 |  | 62987.2928 | 86171.285 | 172342.5699 | 39272.5751 | 149158.5777 | -109886.0026 | 0.26329
Income Eligible - MF LIHEAP Kits | 2257708.3247 |  | 55955.8435 | 1425209.34 | 1425209.34 | 2257708.3247 | 1481165.1835 | 776543.1412 | 1.5243
Income Eligible - IEMS | 462319.4098 |  | 699340.1032 | 532469.5271 | 1185391.4 | 462319.4098 | 1231809.6303 | -769490.2205 | 0.37532
Income Eligible - PTA | 9207372.2 |  | 209493.7304 | 3219669.95 | 4675000.28 | 9207372.2 | 3429163.6804 | 5778208.5196 | 2.685
Income Eligible - PHES | 20977.0207 |  | 30309.4968 | 23077.3029 | 62129.4 | 20977.0207 | 53386.7997 | -32409.779 | 0.39293
Income Eligible - AHNC | 360474.9759 |  | 5867.5293 | 342495.99 | 342495.99 | 360474.9759 | 348363.5193 | 12111.4567 | 1.0348
Income Eligible Total | 13892167.9754 | 0 | 1588774.079 | 8650691.1411 | 11577006.9411 | 13892167.9754 | 10239465.2201 | 3652702.7553 | 1.3567
EEPS Portfolio Costs |  |  | 4864281.5268 |  |  | 0 | 4864281.5268 | -4864281.5268
EEPS Portfolio | 42220412.9258 | 0 | 12720783.0231 | 16516864.8811 | 27601999.3905 | 42220412.9258 | 29237647.9042 | 12982765.0216 | 1.444
EEPS Portfolio without Income Eligible | 28328244.9503 | 0 | 11132008.9441 | 7866173.74 | 16024992.4494 | 28328244.9503 | 18998182.6841 | 9330062.2662 | 1.4911

## PGL 2020 PACT Plan 4
Program Administrator Cost Test (PACT) Results for Peoples Gas, 2020 Programs, WACC Discount Rate, Plan 4 Avoided Costs
Program | Benefits |  | Costs |  |  | Program Administrator Cost Test (PACT)
| Avoided Gas Savings | Other Benefits | Non-Incentive Costs | Incentive Costs | Incremental Costs (Net) | PACT Benefits | PACT Costs | PACT Test Net Benefits | PACT Test
(a) | (b) | (c) | (d) | (e) | (f) | (g) = | (h) = | (i) = | (k) =
[6 empty] | (b) | (d+e) | (g-h) | (g/h)
Home Energy Jumpstart | 225262.5835 |  | 386125.6488 | 165370.22 | 165370.22 | 225262.5835 | 551495.8688 | -326233.2853 | 0.40846
Home Energy Rebate | 715158.5126 |  | 643983.6682 | 307180.1 | 1313009.8818 | 715158.5126 | 951163.7682 | -236005.2556 | 0.75188
Multi-Family | 7933703.5564 |  | 1261608.2346 | 3043138.77 | 5071964.39 | 7933703.5564 | 4304747.0046 | 3628956.5518 | 1.843
Home Energy Reports | 1311990.1471 |  | 636189.0326 | 0 | 0 | 1311990.1471 | 636189.0326 | 675801.1145 | 2.0623
Elementary Energy Education | 246119.5889 |  | 0 | 107038.63 | 123893.1079 | 246119.5889 | 107038.63 | 139080.9589 | 2.2994
Residential Subtotal | 10432234.3885 | 0 | 2927906.5842 | 3622727.72 | 6674237.5997 | 10432234.3885 | 6550634.3042 | 3881600.0843 | 1.5926
C&I and PS Prescriptive | 2052002.3235 |  | 1046424.4979 | 1387024.4149 | 2059029.5138 | 2052002.3235 | 2433448.9129 | -381446.5893 | 0.84325
C&I and PS Custom | 1091374.5386 |  | 197114.4533 | 261273.0873 | 1583467.6123 | 1091374.5386 | 458387.5406 | 632986.9981 | 2.3809
Gas Optimization | 2055897.234 |  | 333314.4957 | 441804.7784 | 1317090.2576 | 2055897.234 | 775119.2741 | 1280777.9599 | 2.6524
Strategic Energy Management | 979063.7058 |  | 288433.102 | 382314.9738 | 313115 | 979063.7058 | 670748.0758 | 308315.63 | 1.4597
C&I and PS Joint Retro-Commissioning | 880572.2356 |  | 192218.879 | 254784.0563 | 392295.2994 | 880572.2356 | 447002.9354 | 433569.3002 | 1.9699
C&I and PS Joint New Construction | 1098804.8642 |  | 227000.5314 | 300886.7623 | 1540747.2801 | 1098804.8642 | 527887.2937 | 570917.5705 | 2.0815
Commercial Food Service | 65333.73 |  | 11445.5752 | 15170.9869 | 44136.2299 | 65333.73 | 26616.5621 | 38717.1679 | 2.4546
Small Business | 2953906.0747 |  | 1043869.2985 | 1200186.96 | 2100873.6567 | 2953906.0747 | 2244056.2585 | 709849.8162 | 1.3163
Total C&I and Public Sector | 11176954.7065 | 0 | 3339820.8331 | 4243446.02 | 9350754.8497 | 11176954.7065 | 7583266.8531 | 3593687.8534 | 1.4739
Income Eligible - CBA | 975055.4686 |  | 18385.3758 | 2328757.5311 | 2328757.5311 | 975055.4686 | 2347142.9069 | -1372087.4383 | 0.41542
Income Eligible - IHWAP-SF | 233488.7917 |  | 506434.7072 | 692840.215 | 1385680.4301 | 233488.7917 | 1199274.9223 | -965786.1305 | 0.19469
Income Eligible - IHWAP-MF | 30792.1884 |  | 62987.2928 | 86171.285 | 172342.5699 | 30792.1884 | 149158.5777 | -118366.3893 | 0.20644
Income Eligible - MF LIHEAP Kits | 1751181.0789 |  | 55955.8435 | 1425209.34 | 1425209.34 | 1751181.0789 | 1481165.1835 | 270015.8954 | 1.1823
Income Eligible - IEMS | 361046.947 |  | 699340.1032 | 532469.5271 | 1185391.4 | 361046.947 | 1231809.6303 | -870762.6833 | 0.2931
Income Eligible - PTA | 7117813.6893 |  | 209493.7304 | 3219669.95 | 4675000.28 | 7117813.6893 | 3429163.6804 | 3688650.0089 | 2.0757
Income Eligible - PHES | 16435.758 |  | 30309.4968 | 23077.3029 | 62129.4 | 16435.758 | 53386.7997 | -36951.0417 | 0.30786
Income Eligible - AHNC | 282956.2271 |  | 5867.5293 | 342495.99 | 342495.99 | 282956.2271 | 348363.5193 | -65407.2922 | 0.81224
Income Eligible Total | 10768770.149 | 0 | 1588774.079 | 8650691.1411 | 11577006.9411 | 10768770.149 | 10239465.2201 | 529304.9289 | 1.0517
EEPS Portfolio Costs |  |  | 4864281.5268 |  |  | 0 | 4864281.5268 | -4864281.5268
EEPS Portfolio | 32377959.244 | 0 | 12720783.0231 | 16516864.8811 | 27601999.3905 | 32377959.244 | 29237647.9042 | 3140311.3398 | 1.1074
EEPS Portfolio without Income Eligible | 21609189.095 | 0 | 11132008.9441 | 7866173.74 | 16024992.4494 | 21609189.095 | 18998182.6841 | 2611006.4109 | 1.1374