## PGL and NSG Portfolio
Peoples Gas (PGL) and North Shore Gas (NSG) NTG Values
Final 2020 NTG Values
10/1/2019
|  | Final NTG Values | [7 empty] | Final 2020 NTG Values
Sector | Program/Path/Measures | GPY1 | GPY2 | GPY3 | GPY4 | GPY5 | GPY6 | 2018 (GPY7) | 2019 | New NTG Research Since Final 2019 Recommendations | Free Ridership (FR) | Participant Spillover (PSO) | Non-Participant Spillover (NPSO) | 2020 NTG Value | Gas Source(s)
Residential | HEJ - Smart Thermostats | Final NTG Values GPY5: 0.96; Final NTG Values GPY6: NA | NA | NA | No | NA | NA | NA | NA | The savings for natural gas heating provided in Illinois TRM Version 8.0, Section 5.3.16 were derived from a billing regression analysis with an experimental design that does not require further net savings adjustment.
| HEJ - Faucet Aerators | 0.86 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 1.04 | 1.02 | No | 0 | 0.02 |  | 1.02 | TRM version 8.0 specifies that the free ridership for aerators be set at zero when estimating gross savings using the Residential Section of the TRM specified baseline average water flow rate.
| HEJ - Showerheads | 0.86 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 1.02 | No | 0 | 0.02 |  | 1.02 | TRM version 8.0 specifies that the free ridership for showerheads be set at zero when estimating gross savings using the Residential Section of the TRM specified baseline average water flow rate.
| HEJ - Programmable Thermostat | 0.86 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.88 | No | 0.14 | 0.02 |  | 0.88 | FR and PSO: 2018 Survey of 110 GPY6 participants. Memo: Net-to-Gross Research Results from GPY6 for the Peoples Gas and North Shore Gas Home Energy Jumpstart Program, Navigant, 8/23/18, second revision 9/19/18. FR: 28 responses for this measure.
| HEJ - Re-Programming Thermostat | 0.86 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.8 | No | 0.22 | 0.02 |  | 0.8 | FR and PSO: 2018 Survey of 110 GPY6 participants. Memo: Net-to-Gross Research Results from GPY6 for the Peoples Gas and North Shore Gas Home Energy Jumpstart Program, Navigant, 8/23/18, second revision 9/19/18. FR: 21 responses for this measure. ICC Staff suggestion with SAG consensus for Nicor Gas was combining the Nicor Gas (12 responses) and PGL & NSG (21 responses) survey question results for the re-programming t-stat value (combined 33 responses average FR=0.34), and then take an average of those results and the Nicor Gas water heater temp setback results (FR = 0.09) (SAG consensus). Final FR=0.22. Navigant recommended the same value for PGL & NSG.
| HEJ - Boiler Pipe Insulation, DHW Pipe Insulation | 0.86 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.88 | No | 0.14 | 0.02 |  | 0.88 | Boiler pipe insulation and pipe insulation domestic hot water (DHW) outlet – had low participation in GPY6 (about 3 percent of overall program savings combined) and were not represented in the GPY6 HEJ survey research. Navigant recommends a free ridership of 0.14 for those measures, matching the findings for programmable thermostats, because they are equipment measures whereas re-programming thermostats is a service measure.
Residential | Home Energy Rebate (HVAC and other equipment, excluding Smart Thermostats, Duct Sealing, Air Sealing, and Insulation Measures) | Final NTG Values GPY4: 0.82 (PGL) 0.80 (NSG); Final NTG Values GPY5: 0.81; Final NTG Values GPY6: 0.81 | 0.64 | 0.63 | No | 0.49 | 0.01 | 0.11 | 0.63 | FR and PSO: 2017 Survey of 74 GPY6 HVAC/Other Equipment participants and 60 participating trade allies. Memo: Net-to-Gross Research Results from GPY6 for the Peoples Gas and North Shore Gas Home Energy Rebate Program, Navigant, 5/26/17 NPSO: 2013 Survey of 59 non-participating trade allies. Residential Prescriptive Rebate Program GPY2 Evaluation Report, Navigant, 2/10/14
Residential | All scenarios of Air Sealing plus added Attic Insulation Installed in the Same Project (whether or not additional measures are installed in the same project) | Final NTG Values GPY4: 0.82 (PGL) 0.80 (NSG); Final NTG Values GPY5: 0.81; Final NTG Values GPY6: 0.81 | 0.9 | NA | No |  |  |  | NA | Applies only in scenarios where air sealing and attic insulation are installed at the same time, and only if the savings for natural gas heating are estimated using the Illinois TRM Version 8.0, Section 5.6.1 (Air Sealing) and Section 5.6.5 (Ceiling/Attic Insulation) adjustment factor of 72% that was derived from air sealing and insulation research by Navigant (2018). See Navigant (2018) ComEd and Nicor Gas Air Sealing and Insulation Research Report. The 72% adjustment factor was derived from a gas consumption data regression analysis with an experimental design that does not require further net savings adjustment.
Residential | Air Sealing (conducted without adding Attic Insulation) | Final NTG Values GPY4: 0.82 (PGL) 0.80 (NSG); Final NTG Values GPY5: 0.81; Final NTG Values GPY6: 0.81 | 0.9 | 0.73 | Yes | 0.24 | 0.01 |  | 0.77 | FR: Navigant research of free ridership from a telephone survey administered to ComEd EPY9/GPY6 and CY2018 Weatherization Rebates Program participants that were joint with PGL, NSG and Nicor Gas. Navigant conducted the net-to-gross (NTG) research in Fall 2018 with EPY9/GPY6 and CY2018 participants and in Spring 2019 with only CY2018 duct sealing participants. Analyzed completes: Attic Insulation (61), Air Sealing (68), Duct Sealing (79). Wall insulation FR is a weighted average value. Survey was fuel neutral and used TRM v7.0 protocols. Navigant recommended updating older gas research with these newer joint values, described in Navigant memo to ComEd July 19, 2019. PSO: 2017 Survey of 86 GPY6 Air Sealing, Duct Sealing, and Insulation participants and 60 participating trade allies. Memo: Net-to-Gross Research Results from GPY6 for the Peoples Gas and North Shore Gas Home Energy Rebate Program, Navigant, 5/26/17
Residential | Insulation measures, excluding ceiling/attic insulation, including Wall, Floor Above Crawlspace, Basement Sidewall; Rim/Band Joist | Final NTG Values GPY4: 0.82 (PGL) 0.80 (NSG); Final NTG Values GPY5: 0.81; Final NTG Values GPY6: 0.81 | 0.9 | 0.73 | Yes | 0.22 | 0.01 |  | 0.79
Residential | Duct Sealing | Final NTG Values GPY4: 0.82 (PGL) 0.80 (NSG); Final NTG Values GPY5: 0.81; Final NTG Values GPY6: 0.81 | 0.9 | 0.78 | Yes | 0.14 | 0.01 |  | 0.87
Residential | Advanced (Smart) Thermostats | [6 empty] | NA | NA | No |  |  |  | NA | The savings for natural gas heating provided in Illinois TRM Version 8.0, Section 5.3.16 were derived from a billing regression analysis with an experimental design that does not require further net savings adjustment. | bar: Final NTG Values GPY6
Income Eligible | New Construction | [6 empty] | 1 | 1 | No |  |  |  | 1 | Illinois TRM version 8.0 | bar: Final NTG Values GPY6
Income Eligible | Single Family Home Retrofits | [6 empty] | 1 | 1 | No |  |  |  | 1 | Illinois TRM version 8.0 | bar: Final NTG Values GPY6
Income Eligible | Public Housing Authority (PHA) | [6 empty] | 1 | 1 | No |  |  |  | 1 | Illinois TRM version 8.0 | bar: Final NTG Values GPY6
Income Eligible | Multi-Family Non-PHA | [6 empty] | 1 | 1 | No |  |  |  | 1 | Illinois TRM version 8.0 | bar: Final NTG Values GPY6
Multi-Family DI In-Unit and Common Areas (starting 2020) | Direct Install (DI) In-Unit and Common Area (all DI measures except in-unit DI faucet aerators and in-unit DI showerheads) | 0.9 | 0.9 | 0.9 | 0.9 | 0.92 | 0.92 | 0.85 | 0.85 | Yes | 0.05 | 0.01 | 0 | 0.96 | Navigant research with CY2018 participants for FR and GPY6 participants for PSO. The free ridership results meet a 90% confidence interval within 5% precision, based on 15 respondents receiving pipe insulation or programmable thermostats from a population of 95 unique direct installation participants (property owners and managers) from 2018 from Nicor Gas, Peoples Gas, and North Shore Gas, excluding accounts that only installed showerheads and aerators. Participant Spillover from survey of 65 participants from a sample of Nicor Gas, Peoples Gas, and North Shore Gas GPY6 multi-family program participants.
Multi-Family DI In-Unit | Direct Install In-Unit Showerheads (when using TRM specified baseline average water flow rates) | 0.9 | 0.9 | 0.9 | 0.9 | 0.92 | 0.92 | 0.85 | 1.03 | Yes | 0 | 0.01 | 0 | 1.01 | TRM version 8.0 specifies that the free ridership for showerheads be set at zero when estimating gross savings using the Residential Section of the TRM specified baseline average water flow rate. Participant Spillover from survey of 65 participants from a sample of Nicor Gas, Peoples Gas, and North Shore Gas GPY6 multi-family program participants.
Multi-Family DI In-Unit | Direct Install In-Unit Faucet Aerators (when using TRM specified baseline average water flow rates) | 0.9 | 0.9 | 0.9 | 0.9 | 0.92 | 0.92 | 1.03 | 1.03 | Yes | 0 | 0.01 | 0 | 1.01 | TRM version 8.0 specifies that the free ridership for aerators be set at zero when estimating gross savings using the Residential Section of the TRM specified baseline average water flow rate. Participant Spillover from survey of 65 participants from a sample of Nicor Gas, Peoples Gas, and North Shore Gas GPY6 multi-family program participants.
Multi-Family Comprehensive - Path-Based Estimate | Prescriptive Rebates | Final NTG Values GPY4: 0.84 (PGL) 0.90 (NSG); Final NTG Values GPY5: 0.87 (PGL) 0.92 (NSG); Final NTG Values GPY6: 0.92 | 0.76 | 0.76 | Yes | NA | NA | NA | NA | Free ridership from Navigant analysis of 23 participant interviews conducted in 2019 of 2018 MF Program participants (C/P 90/9). Sample size not large enough for path-based estimates. NPSO (PGL & NSG EM&V GPY5 for MF program). Participant Spillover from survey of 65 participants from a sample of Nicor Gas, Peoples Gas, and North Shore Gas GPY6 multi-family program participants.
Multi-Family Comprehensive - Path-Based Estimate | TAPI Incentives / Partner Trade Allies | Final NTG Values GPY4: 0.99; Final NTG Values GPY5: 0.99; Final NTG Values GPY6: 0.92 | 0.88 | 0.88 | Yes | NA | NA | NA | NA
Multi-Family Comprehensive - Path-Based Estimate | Custom Incentives | Final NTG Values GPY4: 0.68; Final NTG Values GPY5: 0.78; Final NTG Values GPY6: 0.78 | 0.72 | 0.72 | Yes | NA | NA | NA | NA
Multi-Family Comprehensive | Roll-up of Prescriptive, PTA, and Custom | [6 empty] | 0.84 | 0.84 | Yes | 0.14 | 0.01 | 0 | 0.87
Multi-Family Comprehensive | Gas Optimization | Final NTG Values GPY4: 1.02; Final NTG Values GPY5: 1.02; Final NTG Values GPY6: 1.02 | 1.02 | 0.91 | Yes | 0.14 | 0.05 |  | 0.91 | FR and PSO: 2018 Survey of 7 GPY6 participants. Memo: Net-to-Gross Research Results from GPY6 for the Gas Optimization Study Offering, Navigant, 8/29/18, revised 9/13/18. The Gas Optimization offering has three paths: building heating, process, and steam plant. Multi-family buildings participate through the building heating path. Multi-Family specific GOS FR and PSO values are preferred if available. The GPY6 population did not have multi-family participants, and the two building heating respondents in the sample of seven were not compelling as MF representatives so Navigant used the overall program-level FR and PSO values.
Residential Outreach & Educ. | Home Energy Reports | [6 empty] | NA | NA | No |  |  |  | NA | The savings for natural gas heating provided are derived from a billing regression analysis with an experimental design that does not require further net savings adjustment. | bar: Final NTG Values GPY3 to Final NTG Values GPY6
Residential Outreach & Educ. | Elementary Energy Ed | Final NTG Values GPY4: 0.79; Final NTG Values GPY5: 1.05; Final NTG Values GPY6: 1 | 1 | 1 | No |  |  |  | 1 | SAG Consensus. Program value applies to all natural gas saving measures offered through the program, including Water Efficient Showerheads; Water Efficient Kitchen Aerators; Water Efficient Bath Aerators; Water Heater Setback, and Shower Timers.
Business and Public Sector | C&I Energy Jumpstart | Final NTG Values GPY4: 0.81; Final NTG Values GPY5: 0.82; Final NTG Values GPY6: 0.79 | 0.79 | 0.79 | No | 0.23 | 0 | 0.02 | 0.79 | FR, PSO (IL EM&V GPY4), NPSO (IL EM&V GPY2)
Business and Public Sector | Prescriptive Rebates | 0.43 | 0.63 | 0.63 | 0.58 | 0.63 | 0.79 | 0.79 | 0.79 | No | 0.23 | 0 | 0.02 | 0.79 | FR, PSO (IL EM&V GPY4), NPSO (IL EM&V GPY2)
Business and Public Sector | Custom Rebates | 0.68 | 0.78 | 0.78 | 0.68 | 0.78 | 0.69 | 0.69 | 0.69 | Yes | 0.26 | 0 |  | 0.74 | Navigant analysis of participant interviews conducted in 2019 of 2018 Custom Rebate Program participants, including the private and public sectors. Completed 10 interviews from population of 19 (C/P 90/8). Sample size not large enough for separate Private/Public NTG estimates.
Business and Public Sector | Gas Optimization | Final NTG Values GPY4: 1.02; Final NTG Values GPY5: 1.02; Final NTG Values GPY6: 1.02 | 1.02 | 0.91 | Yes | 0.14 | 0.05 |  | 0.91 | No adjustment to FR, no additional SO found based on Navigant analysis of data from outbound telephone surveys conducted in 2019 with Gas Optimization Study Service Providers (SP) for Peoples Gas and North Shore Gas. Navigant staff fielded the telephone survey in Q2 and Q3 2019. Of the eight potential SPs, five responded to NTG survey questions. These five SPs were responsible for 97% of January 2017 through July 2019 program savings.
Business and Public Sector | Retro-Commissioning | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 0.9372 | No | 0.0628 | 0 | 0 | 0.9372 | Evaluation research conducted 2017 and 2018 with GPY6/EPY9 project participants resulted in a NTG of 0.94 for gas. Memo: Net-to-Gross Research Results from EPY9/GPY6 for the Coordinated Utility Retro-Commissioning Program, Navigant, 8/25/18, revised 9/14/18. FR results weighted 36% for participants (FR=0.13) and 64% for service providers (FR=0.025). No spillover identified.
Business and Public Sector | Dedicated New Construction Program | Final NTG Values GPY4: 0.52; Final NTG Values GPY5: 0.92; Final NTG Values GPY6: 0.67 | 0.77 | 0.7 | Yes | 0.4175 | 0 | 0 | 0.5825 | NTG Average of previous 4 program years GPY4 (0.57), GPY5 (0.83), GPY6 (0.48), & CY2018 (0.45); 2018 FR estimate of 55% from Navigant CY2018 research, based on 23 completed interviews.
Business and Public Sector | Strategic Energy Management | [7 empty] | 1 | No |  |  |  | 1 | SAG Consensus. Program NTG value would apply to other cohorts (for example, healthcare) as well as industrial. For equipment measures identified through SEM that are channeled through other incentive programs, use the NTG of the program processing the equipment incentive.
Business and Public Sector | Combined Heat and Power (CHP) | Final NTG Values GPY5: 0.73; Final NTG Values GPY6: Project-Specific | Project-Specific | Project-Specific | No |  |  |  | Project-Specific | SAG Consensus. Project-specific NTG values to be determined by evaluation early in each project. If that is not possible, default of 0.8 NTG to be used.
Small Business | Assessment/Direct Install | 0.99 | 0.99 | 0.99 | 0.99 | 0.93 | 0.93 | 0.92 | 0.95 | No | Partic: 0.15 SvsP: 0.0 40/60: 0.06 | 0.01 |  | 0.95 | FR (40% weight to participant FR value researched in GPY5; 60% weight to zero FR for service provider); PSO (Value based on GPY5 participant research); NPSO (no value). GPY5 participant FR and PSO researched values based on TRM v6.0 algorithms. Navigant re-calculated the Small Business Participant and Service Provider/TA weightings using TRM v7 scoring protocols. See Navigant memo: Weighting Gas Utility Small Business Service Provider and Participant Free Ridership using the TRM Version 7.0 Protocol and CY2019 NTG Recommendations, 9/19/18.
Small Business | Retrofit Incentives | Final NTG Values GPY6: 0.93 | 0.92 | 0.92 |  | Partic: 0.15 SvsP: 0.03 46/54: 0.09 | 0.01 |  | 0.92 | FR (46% weight to participant FR value researched in GPY5; 54% weight to FR from GPY4 PGL & NSG trade ally research); PSO (Value based on GPY5 participant research); NPSO (no value). GPY5 FR and PSO researched values based on TRM v6.0 algorithms. Navigant re-calculated the Small Business Participant and Service Provider/TA weightings using TRM v7 scoring protocols. See Navigant memo: Weighting Gas Utility Small Business Service Provider and Participant Free Ridership using the TRM Version 7.0 Protocol and CY2019 NTG Recommendations, 9/19/18.
Market Transformation | Building Operator Certification | [6 empty] | 1 | 1 | No |  |  |  | 1 | In previous years, net savings was estimated directly through participant sampling and interviews. No further NTG adjustment is applied if deemed savings are based on historical results.
Market Transformation | Pilot Programs and Research Projects | [6 empty] | 1 | Pilot-Specific | No |  |  |  | Pilot-Specific | Pilot-specific NTG values to be determined by evaluation early in each project. If that is not possible, default of 0.8 NTG to be used.
Emerging Technologies | Pilot Programs and Research Projects | [6 empty] | 1 | 1 | No |  |  |  | 1 | No NTG adjustment is applied to evaluation verified gross savings estimated for first year Emerging Technologies pilot programs and research projects.