## TRC Inputs Non-Measure Level
SAG Portfolio Planning Process
TRC Inputs Template: Non-Measure Level Inputs
Updated for Oct. 26-27 SAG Meetings (see red text for updates to this table compared to the June 17, 2020 presentation)
Illinois Utilities - TRC Inputs Table Updated for Oct. 26-27 SAG Meetings
TRC Input: Non-Measure Level | Ameren Illinois |  | ComEd |  | Nicor Gas |  | Peoples Gas & North Shore Gas
| Current Inputs | Planned Changes for 2022-2025? | Current Inputs | Planned Changes for 2022-2025? | Current Inputs | Planned Changes for 2022-2025? | Current Inputs | Planned Changes for 2022-2025?
Gas and Electric Avoided Costs (avoided energy and avoided capacity) | Avoided Electricity Supply Costs are calculated as the weighted around-the-clock annual electric supply price, sourced from MISO Illinois Hub LMP Futures peak and off-peak prices. The annual ATC price is escalated using AEO price forecasts for each analysis year. Avoided Electric Capacity Costs are calculated as the sum of the MISO LRZ 4 Cost of New Entry (CONE) for planning year 2020/2021, CONE reserve margin of 7.8%, and the transmission and distribution cost. The annual ATC capacity cost is escalated using AEO price forecasts for each analysis year. Avoided Natural Gas Supply Costs are calculated as the sum of the one-year average commodity gas charge and the three-year average non-commodity gas charge, sourced from the Ameren IL Natural Gas Historical Purchased Gas Adjustment Charges. Future natural gas supply costs are escalated based on NYMEX Natural Gas Futures and AEO price forecasts. | None. | Gas Cost - Provided by local gas utilities; peak avoided costs are already included Electric Supply/Generation Cost - ATC price data is retrieved from the CME Group website for the Northern Illinois Hub. Products used include off-peak "PJM Northern Illinois Hub Day-Ahead Off-Peak Calendar-Month 5 MW Futures" and peak "PJM Northern Illinois Hub 5 MW Peak Calendar-Month Real-Time LMP Futures". Prior Settle prices for the 12-month period in question are used to calculate an around-the-clock electric supply price. Source: CME Group website (http://www.cmegroup.com/trading/energy/) Ancillary Charges - Sum NERC FEE and RFC Fee from Schedule 10, and 9-1 Control Area Administrative on Service Fee from Schedule 9, available on the PJM website Capacity Cost - ComEd Resource Clearing Price (RCP) and Forecast Pool Requirement (FPR) are retrieved from the appropriate Base Residual Auction report and multiplied to find the Installed Capacity (ICAP) cost. ICAP is annualized and multipled by Marginal Peak Loss factor (see below). Source: PJM Base Residual Auction reports (https://www.pjm.com/markets-and-operations/rpm.aspx). | No Change | Nicor Gas calculates natural gas commodity prices at Henry Hub, using the Wood Mackenzie Natural Gas Forecast, Long Term View. Nicor Gas calculated the avoided supply costs by adding the pipeline delivery and gas basis charges required to transport gas from Henry Hub to the Chicago city gate, the variable distribution costs required to distribute gas from the city gate to customers. This includes Annual Avoided Costs and Winter Load Avoided Costs. | We plan to use the same approach with updated input values. | Adopted Nicor and ComEd's approach | Similar approach to Ameren IL. Using PGL NSG specific commodity and non commodity costs as the basis for the avoided natural gas supply. Avoided Natural Gas Supply Costs are calculated as the sum of the 2019 average commodity gas charge and the three-year average non-commodity gas charge, sourced from PGL NSG historical Future natural gas supply costs are escalated based on NYMEX Natural Gas Futures and AEO price forecasts.
T&D Avoided Costs | Avoided T&D Costs are calculated based on the projected marginal cost of transmission and distribution infrastructure upgrades in the Ameren service territory from the most recent company study, adjusted for inflation. | None. | These avoideds costs are considered internal and confidential. Avoided capacity costs for ComEd include two main categories, avoided costs for peak growth and avoided costs for substation growth capacity. Each main category consists of both a distribution and a transmission component. The avoided costs for each component in simple terms are the result of multiplying ComEd’s levelized fixed charge rate by the potential deferable expenditures and dividing by the average peak load growth for 2017 through 2027. Unavoidable expenditures include cost for material condition, location of growth and relocation of load. About 90% of our capacity expenditures are considered unavoidable. Source: ComEd Capacity Group | No Change | This is included in the Gas Avoided Cost calculation above. Source is the Cost of Service Study approved in the 2016 rate case. | We plan to use the same approach with updated input values. Source is the Cost of Service Study approved in the 2019 rate case. | Adopted Nicor and ComEd's approach | PGL NSG is not including explicit/separate T&D cost associated the supply of natural gas. T&D costs are included the non-commodity prices for each utility. T&D costs like transportation, storage, main upgrades etc. are included in the non-commodity cost.
Water and Unregulated Energy/Fuel Avoided Costs | Avoided Water Costs are calculated as the average water usage rates as sourced from the Illinois Commerce Comission Large Water Utility Rate Structure and Bill Comparison report. | None. | Approximate water cost per 1,000 gallons is retrieved from the City of Chicago Water Utility website. The water rate is doubled to account for water and sewer because the sewer rate is 100% of the water rate as of 1/1/2015. Source: City of Chicago Water Utility website (https://www.cityofchicago.org/city/en/depts/fin/supp_info/utility-billing/water-and-sewer-rates.html) | No Change | Water Cost, Nicor Gas constructs an index of municipal water rates for the largest municipalities in the service territory. The cost of water for participants are determined on a per 1,000 gallons basis and using a weighted average by population. | We plan to use the same approach with updated input values. | Consistent w/Nicor - customized to PGL/NSG territory | Approach will be consistent with Nicor & ComEd. Will customize data to local municipalties
Carbon Adder (dollar amount) | The Carbon Adder is sourced from the Illinois Public Utilities Act as amended by SB 2814. As per the legislation, the 2016 value of $16.50/MWh is annually adjusted for inflation through 2022, then increases annually by $1 per MWh after 2022. | Electric carbon adder remains consistent. Natural Gas adder also included, converting the electric adder to natural gas. The updated gas methodology for the Carbon Adder was developed with all of the IL utilities agreeing on both the methodology and value. All IL utilities also agreed to use the same electric Carbon Adder, consistent with the methodology established by Ameren in the last Plan. | The Carbon Adder is sourced from the Illinois Public Utilities Act as amended by SB 2814. As per the legislation, the 2016 value of $16.50/MWh is annually adjusted for inflation through 2022, then increases annually by $1 per MWh after 2022. | No Change | See Greenhouse Gas row below | See Greenhouse Gas row below | See Greenhouse Gas row below | As agreed-upon by all IL utilities, a methodology that converts the electric Carbon Adder to gas will be used in this Plan.
Non-Energy Benefits or Non-Energy Impacts | Not included. | A Societal NEI will be included in the TRC modeling upon receipt of the final report from ODC, expected in late November. | Will include all quantifiable Non-Energy Impacts (NEI’s) from evaluator NEI research results that all agree upon, but they were not accounted for in ComEd's Plan 5. | No Change | Set at 7.5% of other benefits, consistent with values applied in MidAmerican Energy EEP approved by ICC. | Socetal NEIs include reductions in GHG Emissons (see GHG section below) and Non-GHG Emissions. For Non-GHG Pollution Guidehouse provided estimates of health benefits developed from the USEPA COBRA model. Guidehouse provided a forecast of nominal $ savings per therm, which Nicor has incorporated into its planning models. Guidehouse has also provided estimates of Utility and Participant NEIs for customers participating in IQ Whole House Weatherizaton programs. These estimates are based on secondary data from Massachusetts and Maryland..Nicor Gas has not yet incorporated these NEI values into its planning models, but will before the March 1, 2021 EEP filing. | Consistent w/ Nicor | The TRC will include a Societal NEI that was developed by Guidehouse. The Societal NEI is expected to be integrated into the model in November.
Line losses (Energy and Peak) | Energy and peak line losses are calculated as an average of hourly system losses. | Energy line losses are calculated as the hourly load-weighted average annual loss factor multiplied by 1.50 to reflect marginal losses. Peak line losses are calculated as the hourly load-weighted average loss factor for the IL-defined peak period multiplied by 1.50 to reflect marginal losses. | Marginal energy and peak loss are calculated with inputs from most recent ComEd transmission and distribution loss studies and weighted by the most recently evaluated portoflio savings. Source: ComEd's 2017 Tramission System Loss Study, ComEd's 2019 Distribution System Loss Study; ICC Docket No. 17-0049 directed that ComEd provide an updated transmission loss study in its 2018 Formula Rate Update proceeding and thereafter update the study no less frequently than every five years unless there is good reason to defer the update. | No Change | This is include in the above avoided cost. | This is include in the above avoided cost. | Consistent w/ Nicor | Gas lost and unaccounted % tracked by company and provided for analysis.
Societal Discount Rate | The nominal societal discount rate, as per the Illinois Energy Efficiency Policy Manual Version 2.0, shall be based on the average “Daily Treasury Yield Curve Rate” for a 10-year bond. The rate is the average of the daily values over the ten (10) calendar years preceding the year in which the IL-TRM is finalized for use when the Program Administrators file their multi-year efficiency Plans (e.g., for all days between January 1, 2010 and December 31, 2019 for the 2022 to 2025 efficiency Plans to be filed in March 2021, where the 2021 IL-TRM is finalized by October 2020). | None. | Nominal Societal Discount Rate: 2.38% Real Societal Discounts Rate: 0.46% Source: Illinois Technical Reference Manual, Volume I, Section "Discount Rates, Inflation Rates, and O&M Costs " | Nominal Societal Discount Rate: 2.40% Real Societal Discounts Rate: 0.42% Source: Illinois Technical Reference Manual, Volume I, Section "Discount Rates, Inflation Rates, and O&M Costs " | Published in the 2020 IL TRM v8.0 Vol. 1,Section 3.10 (page 56 of volume 1) nominal discount rate of 2.38%. | VEIC in the 2020 IL TRM v9.0 Vol. 1, has provided an updated TRM value: nominal discount rate of 2.40%, | As defined in current TRM | As defined in latest TRM
Inflation Rate | As per the Illinois Energy Efficiency Policy Manual Version 2.0, the inflation rate will be sourced from the 2021 IL TRM (finalized October 2020) for the 2022-2025 planning cycle. The inflation rate is based upon the 20-Year US Treasury Bond Yield. | None. | Published in the 2020 IL TRM v8.0 Vol. 1,Section 3.10 (page 56 of volume 1) nominal inflation rate of 1.91%, | Published in the 2020 IL TRM v9.0 Vol. 1,Section 3.10 (page 60 of volume 1) nominal inflation rate of 1.98%, | Published in the 2020 IL TRM v8.0 Vol. 1,Section 3.10 (page 56 of volume 1) nominal inflation rate of 1.91%, | Nicor Gas uses the Wood Mackenzie North America gas markets long-term outlook for the US Consumer Price Index (CPI) which after 2022 is level at 2.00% | As defined in current TRM | As defined in latest TRM
Future Avoided Greenhouse Gas Emissions | Future Avoided Greenhouse Gas Emissions are assumed to be accounted for in the carbon adder. | None. | See Carbon Adder | See Carbon Adder | Under our filed plan Nicor Gas added estimates of greenhouse gas (“ghg”) costs developed from the Department of Energy’s May 2014 Annual Energy Outlook. The ghg adder is applied starting in 2020. | Updated reference for greenhouse gas cost to the 2016 Interagency Working Group Social Cost of Carbon estimates developed in 2016. Technical Support Document: ­Technical Update of the Social Cost of Carbon for Regulatory Impact Analysis ­ Under Executive Order 12866, Interagency Working Group on Social Cost of Greenhouse Gases. This is the same source required in FEJA for setting renewable electricity credits. GHG adders start applying in 2022. All utilities are using the same approach and underlying source. | Consistent w/ Nicor | Greenhouse Gas Emissions accounted with Carbon Adder.